Stock No: F3210

SPECIFICATION

BROWN & SHARPE CNC CO-ORDINATE

MEASURING MACHINE

Model:		M00-004-309

Serial No:		1410

MFD:		2001

Capacities:

Operating Software:		Quindos 7 (Installed 2015)

Table Dimensions:			1600 x 1065mm

X Axis Traverse:			1600mm

Y Axis Traverse:			1000mm

Z Axis Traverse:			600mm

Distance Between Columns:	1250mm

Maximum Table Load:		2000kg

Resolutions:				0.05µm

Maximum Positioning Speed:	400mm/sec

Maximum Acceleration:		3000mm/sec

Probe System:	TK 004 LSP

Measuring 3D Probe System with unclamped probing in all 3 Axis, Dynamic single point probing, self-centering.

Probing Frequency:		30 Points/min

Maximum Scanning Speed:	50mm/sec

Stylus Head Changer:		3 Positions

Approximate Dimensions:	3600 x 2220 x 3900mm

Approximate Weight:		10,500kg

Price………...£			Plus VAT (if applicable)

# OFFERED SUBJECT TO REMAINING UNSOLD

The above information is, to the best our knowledge correct, but purchasers are advised to check relevant details.